NetXMS WebAPI
Reference Guide

Version 0.9.0

# Introduction

NetXMS WebAPI is a technology available in NetXMS since version 0.9.0 which allows web browsers or other HTTP enabled applications and web pages to directly access NetXMS server and perform the same operations as via NetXMS client library. NetXMS WebAPI uses HTTP/HTTPS as transport protocol and JSON (http://www.json.org) for data serialization.

# Session Overview

Each NetXMS WebAPI session consists of following steps:
1	Client issues request to URL /jsonlogin.app with user credentials. / Server responds with JSON object containing session identifier (SID) if logon was successful or error code if it was not.
2	Client issues one or more requests to URL /json.app with SID obtained on first step. Server responds to each request with JSON object containing request completion code and operation-specific data.
3	Client issues logout command (via /json.app URL). / Server responds with JSON object containing request completion code and closes session. SID obtained in first step becomes invalid.

Note: Although it is not mandatory to issue a logout command at the end of session, because inactive sessions will be terminated by watchdog process anyway, it is recommended to allow server to release resources, allocated for session, faster.

# Login URL

Login URL used only once – to create a new session. It has the following format:
/jsonlogin.app?user=login_name&passwd=password
You can also use POST method and pass user and passwd attributes as POST attributes instead of as part of URL.

Server will respond with JSON object containing the following properties:
Name	Type	Meaning
rcc	integer	Request completion code. See Appendix A for list of all possible completion codes.
sid	string	If login request was successful, this property will contain session identifier (SID) of a new session. If login request was unsuccessful, this property will not be presented.
errorText	string	If login request was unsuccessful, this property will contain error text.

Example of successful login:
Request: GET /jsonlogin.app?user=admin&passwd=netxms
Response:
{
"rcc": 0,
"sid": "36B9763140A57E63EFF9FA5716AC965429907E6B"
}

Example of unsuccessful login:
Request: GET /jsonlogin.app?user=admin&passwd=bad
Response:
{
"rcc": 2,
"errorText": "Access denied"
}

# Main URL
All operations except login goes through main URL. It has the following format:
/json.app?sid=session_id&cmd=command
You can use either GET or POST to issue commands. For commands which requires sending data to server (like updating object properties), additional attribute data is required. It is recommended to use POST method for commands with data.
Server expects data attribute to contain valid JSON object, and will respond with JSON object as well. Response always contain request completion code in rcc propery. For successful requests resulting object will contain operation-specific data, and for failed requests – only one additional property errorText with textual description of request completion code.

Example of successful operation of getting alarm list:
Request: GET /json.app?sid=36B9763140A57E63EFF9FA5716AC965429907E6B&cmd=getAlarmList
Response:
{
  "rcc": 0,
  "alarmList": [
    {
      "id": 645,
      "sourceId": 12,
      "sourceName": "u300",
      "creationTime": 1229012559,
      "lastChangeTime": 1229700316,
      "sourceEventCode": 24,
      "sourceEventId": 7140,
      "currentSeverity": 2,
      "originalSeverity": 2,
      "state": 0,
      "helpdeskState": 0,
      "ackByUser": 0,
      "terminateByUser": 0,
      "repeatCount": 6,
      "timeout": 0,
      "timeoutEvent": 43,
      "message": "Invalid network mask 255.255.0.0 on interface \"Local Area Connection\", should be 255.0.0.0",
      "key": "BAD_NETMASK_0x0000000C_4",
      "helpdeskReference": ""
    }
  ]
}

# Commands
This chapter describes all possible commands for NetXMS WebAPI. For each command, input and output data described; if input data is missing, it means that no input data required for command; if output data is missing, it means that command does not produce output data besides request completion code.

## getAlarmList
Get list of active alarms from server.
Output data:
Consists of one property alarmList, which is an array of objects with the following properties:
Name	Type	Meaning
id	uint	Alarm ID
sourceId	uint	Source object ID
sourceName	string	Source object name
creationTime	uint	Alarm creation time (as UNIX timestamp)
lastChangeTime	uint	Time of last alarm change (as UNIX timestamp)
sourceEventCode	uint	Code of event which produces this alarm
sourceEventId	uint64	ID of event which produces this alarm
currentSeverity	int	Current alarm severity
originalSeverity	int	Original alarm severity
state	int	Alarm state
helpdeskState	int	Alarm to helpdesk system issue relation state
ackByUser	uint	ID of user who acknowledge this alarm
terminateByUser	uint	ID of user who terminate this alarm
repeatCount	int	Alarm repeat count
timeout	int	Alarm timeout in seconds
timeoutEvent	uint	Code of event to be sent if case of alarm timeout
message	string	Alarm message
key	string	Alarm key
helpdeskReference	string	Helpdesk system reference key